## Slide 1: Improvement of Potable Water Supply
EWB – Purdue University Chapter

## Slide 2: Project Background
Partner community of Papachacra, Bolivia
  Insufficient water supply for community
  Growing demand (116 families 2009 – 134 families 2012)
Engineers in Action (EIA) provide on site support
Purdue has sent a previous team to do assessment of the community needs

## Slide 3: Implementation
9
8
9
6
Electrical house*

## Slide 4
N
C O M U N I D A D D E C H I L C A Y O
C O M U N I D A D D E P U E B L O N U E V O
C O M U N I D A D D E Q U E B R A D A G R A N D E
CROQUIS RECONSTRUIDO
ENGINEER IN ACTION (EIA)
Ing. Milton De La Cruz R.
COORDINADOR DEL PROYECTO
CROQUIS DE COMUNIDAD
MUNICIPIO: EL PUENTE COMUNIDAD: PAPACHACRA
TARIJA - BOLIVIA
REFERENCIAS
CAMINO CARRETERO
QUEBRADA
RIO
VIVIENDA FAMILIAR
ESCUELA
Tanques
PROYECTO: AMPLIACION PARA DOTACION DE AGUA POTABLE: ADOPTADO POR LA UNIVERSIDAD DE PURDUE, USA
PAPACHACRA
TOTAL VIVIENDAS 124
Mayo 2011
Tanques
Lorenzo Barca
CV. 079
Eleodoro Paredes
CV. 075
Pablo Gallardo
CV. 064
Mario Gallardo
CV. 063
Juan Gallardo
CV. 065
Teofilo Fernandez
CV. 072
Leoncio Barca
CV. 074
Simon Barca
CV. 073
Anatolio Fernandez
CV. 071
Máximo Fernández
CV. 070
Nazario Paredes
CV. 068
Ricardo Barca
CV. 082
Aniceto Barca
CV. 083
Pedro Barca
CV. 086
Imiliano Barca
CV. 088
Luis Flores
CV. 087
Andres Ramos
CV. 084
Jose Paredes
CV. 089
Bernardo Barca
CV. 085
Santos Paredes
CV. 059
Pablo Gallardo
CV. 058
Dionicio Paredes
CV. 061
Julian Paredes
CV. 060
Julio Paredes
CV. 057
Arturo Paredes
CV. 056
Rogelio Solórzano
CV. 062
Martín Solórzano
CV. 091
Modesto Barca
CV. 098
Francisco Barca
CV. 099
Mariano Solórzano
CV. 092
Pablo Solórzano
CV. 093
Teodoro Barca
CV. 090
Martín Solórzano
CV. 095
Catalino Solórzano
CV. 097
Bernardo Solórzano
CV. 100
Justino Paredes
CV. 101
Beltran Paredes
CV. 102
Lino Solórzano
CV. 069
Andres Solórzano
CV. 103
Faustino Ramos
CV. 104
Juan Flores
CV. 105
Rolando Ramos
CV. 117
Patricio Ramos
CV. 116
Ilarión Ramos
CV. 115
Elias Ramos
CV. 113
Tomas Ramos
CV. 114
Santos Ramos
CV. 109
Ignacio Ramos
CV. 110
Camilo Ramos
CV. 112
Humberto Ramos
CV. 111
Daniel Ramos
CV. 108
Benedicto Ramos
CV. 119
Ariel Ramos
CV. 121
Eloy Ramos
CV. 122
Osbaldo Rueda
CV. 120
Juan Ramos
CV. 118
Cecilio Ramos
CV. 107
nn
CV. 106
Centro Pan
CV. 054
Rosendo rueda
CV. 052
Agustin Apaza
CV. 051
Senon Rueda
CV. 046
Eugenio Rueda
CV. 044
Ruben Ramos
CV. 041
Beimar Rueda
CV. 043
Sede Comunal
CV. 055
Luis Rueda
CV. 050
Pedro Paredes
CV. 049
Julian Paredes
CV. 048
Segundo Paredes
CV. 047
ESCUELA
CV. 053
Juan Rueda
CV. 045
Anacleto Rueda
CV. 042
Abraham Ramos
CV. 040
Damacio Ramos
CV. 039
Pedro Ramos
CV. 038
Alberto Galean
CV. 020
Andres Rueda
CV. 021
Justino Paredes
CV. 022
Esteban Paredes
CV. 024
Natalio Paredes
CV. 023
Abandonado
CV. 025
Pedro Ramos
CV. 018
Pablo Paredes
CV. 019
Centro Pan
CV. 037
Eucebio Ramos
CV. 036
Brígida Rueda
CV. 035
Ruben Ramos
CV. 034
Gualberto Ramos
CV. 009
Marcelo Ramos
CV. 033
Lorenzo Barca
CV. 001
Iglesia
CV. 012
Santos Solórzano
CV. 008
NN
CV. 009
Camilo Paredez
CV. 010
Abandonado
CV. 032
Eulalio paredes
CV. 029
Reinaldo Rueda
CV. 035
Joselino Cardozo
CV. 030
Mario Paredes
CV. 028
Armando Solórzano
CV. 011
Alfonso Solórzano
CV. 013
Pablo Solórzano
CV. 016
Emilio Solórzano
CV. 015
Sipiriano Solórzano
CV. 014
Bernardo Choque
CV. 017
Ademar Paredes
CV. 026
Sipiriano Choque
CV. 027
Antonio Solórzano
CV. 002
Luis Solórzano
CV. 006
Amado Solórzano
CV. 007
Víctor Bejarano
CV. 003
Roberto Segovia
CV. 004
Ipólito Solórzano
CV. 005
C A M P A N A R I O
Abandonado
CV. 094
Francisco Solórzano
CV. 096
Guillermo Solórzano
CV. 067
Juan Solórzano
CV. 066
Bosquecillo
Emilio Galean
CV. 080
Santos Barca
CV. 081
nn
CV. 000
Eusebio Paredes
CV. 077
Mario Paredes
CV. 076
Esteban Paredes
CV. 078
CARE
FPS
TUBERIA MATRIZ – AGUA POTABLE

## Slide 5: Site Map
Location | GPS Coordinates
School | 21°31'16.56"S , 64°57'25.09"W
Tree Spring | 21°31'22.83"S , 64°57'20.42"W
Tank Location 1 | 21°31'24.84"S , 64°57'15.75"W
Tank Location 2 | 21°31'26.46"S , 64°57'15.46"W

## Slide 6: Design & Calculations
Demand based on 66 L/person/day
Total Demand = 35,000 L/day
Current supply = 26,500 L/day
Maximum Projected supply = 43,000 L/day
*all measurements taken mid-October

## Slide 7
Spring Box
  Reinforced concrete
  6 feet below grade
  Followed ACI 318-11 code

## Slide 8
Pump
  Lorentz PS1200 HR-14 No. 1255-X Helical rotor submersible pump
    Used previously in area
  Flow rate of 15000 L/day and pressure head of 30 meters
  Requires 500 watts per day

## Slide 9
Solar Panels
  Two 250 Watt solar panels
  Attached to three 12 volt batteries
  Mounted on solar panel stand
  Batteries and controls stored in nearby pump house

## Slide 10
Storage Tanks
  Daily output of Tree Spring (~17000 L)
  Three 5000 liter HDPE tanks
  Differential elevation of 30 meters between tanks and Tree Spring

## Slide 11
Tank Foundation
  Soil has high bearing capacity
    Observations of assessment team
  2 by 7 foot base
  1-2 feet deep excavation backfilled with sand to 6 inches above ground level, retained by masonry
  Cheaper and faster to implement

## Slide 12
Piping
  Connect to current system
    Tree Spring box to storage tanks
    Storage tanks to main pipeline
Spring Box
Tanks
Existing pipeline

## Slide 13
FPS Spring Overflow Pipe Extension
  Extend current 1 inch diameter PVC pipe
  Extend to 1 inch below sediment wall
  Increases capacity of spring box
Before
After

## Slide 14: Water Quality and Purification
Existing sources are clean
Chlorination in use
New components will receive same treatment
Adhere to Bolivian standards
Water quality data will be collected regularly

## Slide 15: Alternatives
Energy Source
  Electric Grid
  Solar Panel
  Wind Turbine
Spring #3
  Spring Pump
  Chasm Pump
Tank
  Concrete
  Polyethylene

## Slide 16: Impact
Maximum projected potable water supply*: 43,000L/day (120% of demand)
By using sustainable technology and practices, like solar power and water conservation, Papachacra’s success will impact its neighbors too, bolstering the welfare of the entire region
Health
Supply clean water
Eliminate instances of drinking irrigation water
Growth
Will both accommodate and facilitate growth
Economy
Larger population year round
Added strength from growing population
*Dry Season

## Slide 17: Sustainability
Water System
Autonomous, modular operation
Community already has experience with both its construction and upkeep
Solar Power
Repair can be done by local engineers who have experience working with solar power
Does not sap power from the local electrical grid

## Slide 18: Construction Process
Key
  Blue: EWB+EIA members
  Green: Hired Mason
  Red: Hired Engineer
  Purple: Villagers
Considers possibility of delays
Assess Sites and preparation
Finish Prep for Tree Spring
Finish and assemble formworks
Slab Pouring for Spring Box +Pump house +Solar Stand
Finish Prep for Storage Tank and pipe
Site Prep for Storage Tank
Day 1
Day 2
Day 3
Continue Pipeline Excavation
Day 4
Day 5
Day 6
Day 7
Day 8
Day 9
Day 10
Prep for FPS Spring Box Modification
Foundation work for Storage Tank
Spring Box Concrete Pouring
Pump House CMU Laying
Transport Tanks to the location
Hike to mountain top and modify box
Hike back to the village
Finish Pipeline Excavation
Install Pump and Batteries
Install Solar Stands and Panels
Final System Check
Final System Check
Room for Delays
Finish Pipeline Excavation
Room for Delays
Valve Installation
Start Pipe Installation
Wiring of Pump, Batteries,Solar Panels
Pump+Spring Box System Integration
Spring Box Top Slab Pouring
Concrete Lid Casting
Continue Pipe Installation
Pipe Integration at Tanks
Finish Pipe Installation
Valve System Testing
Finish Pipe Installation
Pump System Testing
Fencing for Solar Panels+Pump House
Troubleshooting for any Problems
Install Roof and Door for Pump House
Trial Run of the Whole System

## Slide 19
Community will prepare sites
Priorities
  1) Install overflow pipe
  2) Construct new spring box
  3) Add additional storage
  4) Add pump to spring box
  5) Add solar panels
  6) Connect piping system between and

## Slide 20: Construction Safety
Health and Safety briefings
Safety monitored by Health and Safety Officer
  Brief team members on worksite specific hazards
  Maintain safety communications
Health and Safety Policy will be strictly adhered to by all members

## Slide 21: Monitoring & Long Term O&M
Community water committee
  Training from travel team
  Receive manuals and operation procedures
  Contact engineer Ivan Castillo
Components are long-lasting & low maintenance
Monthly reports sent to Purdue chapter
Purdue plans to send an evaluation team summer of 2013

## Slide 22: Future Implementation
Needs will be assessed during implementation trip & future trips
Possibilities already considering
  Compost Latrines
  Spring #3
    More distant spring
    Less flow
  Improve existing pipeline design
  Irrigation management

## Slide 23: Q & A

## Slide 24: Drawings

## Slide 35: Overhead
Ask sara…