## Sheet1
LORRE Location | Make & Model | Central Scale's Record # | due | location within lab | use | Other Comments
231 | Mettler PE3600 | 654718 | 2018-04-01 | Main Bench near entrance, open balance
231 | Ohaus Discovery | 1124019678 | 2018-04-01 | Weigh Bench, closed balance | NREL
233 | Mettler H31AR | 270254 but no sticker on instr to verify | 2018-04-01 | Left bench, hanging closed balance |  | Is this still in use or ready to salvage (sell)? There is a duplicate balance of this model also in 359.
235 | Mettler PB1502-S | n/a | ? | Back left bench, open balance |  | Will add this to the 2019 Calibration list
235 | Mettler AB104 | 1122390663 | 2018-04-01 | Back left bench, closed balance
252 | Mettler Toledo B502 | 1121152087 | 2018-04-01 | Center bench, open balance
252 | Denver M-220D | P112154 | 2018-04-01 | Near centrifuge, closed balance | Lilly & Ximenes
252 | Ohaus Harvard | n/a but have certificate | 2018-04-01 | Near centrifuge, double pan scale |  | This is a double pan scale and will not be re-certified.
333 | Ohaus | 1202391097 | 2018-04-01 | Weigh Bench, closed balance | Analytical Weighing, HPLC
333 | Mettler E200 | 593392 | 2018-04-01 | Weigh Bench, open balance | Open Balance | Programmed Capacity to 200g. Scale says 1510g. I will ask CS about certifying higher.
336 | Mettler AE160 | 38600? | 2018-04-01 | Left Bench, closed balance | ?
359 | Mettler AC100 | A58946 | 2018-04-01 | Hood, closed balance, HEAVY METALS ONLY | Heavy Metals
359 | Mettler H34 | 617607 | 2018-04-01 | Bench near Filtration | ? | Will not have this re-calibration, doesn't seem to be used regularly
359 | Mettler E200 | A14774 |  |  |  | This balance was certified in April 2017 but not located in 2019.
B38 | Toledo Floor Scale | n/a | ? | West Wall, floor | ? | Is this still in use? Certify or salvage (sell)?
B38 | Portable Beam | SA6859646 | 2018-04-01 |  |  | Is this still in use? Certify or salvage (sell)?