UVC Sterilization Box Directions

- Sign up for a time through PASS to come in and sterilize your tools or lab coat.

- When you show up for your scheduled time, utilize social distancing while in ARMS 2118.

- Plug in the sterilization box.

- Push the oval button on the top of the box and place your item in the sterilization box.

- Turn the dial to “Sterilization”. The indication light will come on.

- Wait 16 minutes for the UVC sterilization process to be completed.

- Remove the sterilized object and unplug the UVC sterilization box.